## LAND ACQUISITION
Category | CAPEX item | Description
Land acquisition | Land purchase | kupovina zemljišta
Land acquisition | Legal fees | pravni troškovi
Land acquisition | Notary and registration | katastar
Land acquisition | Land conversion | prenamjena zemljišta
Land acquisition | Site surveys | geodetski radovi
Land acquisition | Soil investigation | geomehanika
Land acquisition | Environmental baseline | početne studije
Land acquisition | Land clearing | čišćenje zemljišta
Land acquisition | Demolition works | uklanjanje postojećih objekata
Land acquisition | Land grading | nivelacija terena
Land acquisition | Boundary marking | obilježavanje parcele
Land acquisition | Access road preparation | pristupni put
Land acquisition | Temporary site facilities | privremena infrastruktura gradilišta
Land acquisition | Land tax and duties | porezi i takse
Land acquisition | Environmental permitting | ekološke dozvole
Land acquisition | Archaeological surveys | arheološka provjera (ako je potrebno)
Land acquisition | Site fencing temporary | privremena ograda gradilišta
Land acquisition | Utilities connection studies | studije priključenja infrastrukture
Land acquisition | Topographical mapping | topografsko mapiranje
Land acquisition | Land title insurance | osiguranje vlasništva
Land acquisition | Land valuation services | procjena vrijednosti zemljišta
Land acquisition | Transaction advisory | savjetodavne usluge
Land acquisition | Land development planning | planiranje razvoja lokacije

## SITE PREPARATION & CIVIL INFRAS
Category | CAPEX item | Description
Site preparation | Earthworks | iskopi
Site preparation | Site leveling | nivelacija
Site preparation | Soil stabilization | stabilizacija tla
Site preparation | Land clearing | uklanjanje vegetacije
Site preparation | Excavation and backfill | iskop i nasip
Site preparation | Ground compaction | zbijanje tla
Site preparation | Temporary site roads | privremeni putevi
Site preparation | Construction site offices | gradilišne kancelarije
Site preparation | Construction utilities | privremena struja i voda
Road infrastructure | Internal roads | putevi
Road infrastructure | Parking areas | parking
Road infrastructure | Truck loading areas | logistika
Road infrastructure | Heavy truck turning areas | manipulativni platoi
Road infrastructure | Sidewalks and pedestrian paths | pješačke staze
Road infrastructure | Road markings and signage | signalizacija
Utilities | Drainage systems | odvodnja
Utilities | Stormwater systems | oborinska voda
Utilities | Sewage systems | kanalizacija
Utilities | Oil separators | separatori ulja
Utilities | Underground utility ducts | podzemni kanali
Utilities | Utility service corridors | infrastrukturni koridori
Security | Fencing | ograde
Security | Gates | kapije
Security | Guardhouse | portirnica
Security | Perimeter lighting | rasvjeta perimetra
Security | Access control infrastructure | kontrola pristupa

## BUILDINGS (INDUSTRIAL FACILITIE
Category | CAPEX item | Description
Production building | Steel structure | čelična konstrukcija
Production building | Roof structure | krov
Production building | Roof insulation | krovna izolacija
Production building | Roof drainage | odvodnja krova
Production building | Wall panels | fasada
Production building | Thermal insulation | termo izolacija
Production building | Industrial floors | podovi
Production building | Heavy-duty reinforced floors | podovi za tešku opremu
Production building | Crane rails | kranske staze
Production building | Crane support columns | stubovi za dizalice
Production building | Skylights | krovni svjetlarnici
Production building | Industrial doors | industrijska vrata
Production building | Emergency exits | sigurnosni izlazi
Production building | Internal partitions | unutrašnje pregrade
Warehouse | Storage building | skladište
Warehouse | Loading docks | utovarno-istovarne rampe
Warehouse | Storage mezzanine | međusprat
Warehouse | Racking systems | regali
Warehouse | Pallet storage systems | skladištenje paleta
Offices | Office building | kancelarije
Offices | Office interiors | unutrašnje uređenje
Offices | Training rooms | obuka
Offices | Meeting rooms | sale
Offices | Reception area | recepcija
Offices | IT rooms | server soba
QA facilities | Laboratory building | laboratorija
QA facilities | QA inspection rooms | kontrola kvaliteta
QA facilities | Material testing rooms | test materijala
QA facilities | Clean room areas | kontrolisani prostori
QA facilities | Storage for test equipment | skladište opreme

## PRODUCTION EQUIPMENT (CORE PROC
Category | CAPEX item | Description
Core manufacturing | Core cutting line | rezanje jezgra
Core manufacturing | Slitting machine | slitting
Core manufacturing | Core stacking tables | slaganje
Core manufacturing | Core stacking presses | presovanje jezgra
Core manufacturing | Core clamping system | stezanje jezgra
Core manufacturing | Automatic core stacking line | automatizovana linija
Core manufacturing | Core handling cranes | manipulacija jezgra
Core manufacturing | Core tilting devices | rotacija jezgra
Core manufacturing | Core annealing furnace | termička obrada jezgra
Winding | CNC winding machines | namotavanje
Winding | Foil winding machine | foil winding
Winding | Coil pressing machines | presovanje
Winding | Vertical winding machines | vertikalno namotavanje
Winding | Horizontal winding machines | horizontalno namotavanje
Winding | Coil tilting machines | rotacija zavojnica
Winding | Conductor insulation wrapping machines | izolacija provodnika
Winding | Automatic coil winding line | automatizovana linija
Winding | Coil drying ovens | sušenje zavojnica
Insulation | Insulation cutting machines | izolacija
Insulation | Insulation punching machines | perforacija izolacije
Insulation | Insulation forming presses | oblikovanje izolacije
Insulation | Insulation drying systems | sušenje izolacije
Insulation | Assembly stations | priprema aktivnog dijela
Assembly | Active part assembly line | montaža
Assembly | Core-clamp assembly | stezanje jezgra
Assembly | Active part lifting systems | dizanje aktivnog dijela
Assembly | Transformer tank positioning systems | pozicioniranje tankova
Assembly | Radiator installation stations | instalacija radijatora
Assembly | Bushing installation stations | instalacija provodnika
Assembly | Oil filling systems | punjenje ulja
Assembly | Vacuum oil filling system | vakuumsko punjenje ulja
Assembly | Transformer tilting platforms | rotacija transformatora
Assembly | Torque control systems | kontrola momenta

## DRYING INSULATION TECHNOLOGY
Category | CAPEX item | Description
Drying systems | Vacuum drying ovens | vakuumske peći
Drying systems | VPD system | vacuum pressure drying
Drying systems | VPI system | impregnacija
Drying systems | Vacuum pumps | vakuum pumpe
Drying systems | Oil vapor recovery | rekuperacija
Drying systems | Vacuum chambers | vakuumske komore
Drying systems | Heating systems for drying | grijanje komora
Drying systems | Dry air generators | generatori suhog zraka
Drying systems | Nitrogen drying system | sušenje azotom
Drying systems | Oil heating systems | grijanje ulja
Drying systems | Oil circulation pumps | pumpe za ulje
Drying systems | Oil filtration systems | filtracija ulja
Drying systems | Oil degassing systems | degazacija ulja
Drying systems | Vacuum piping network | vakuumski cjevovodi
Drying systems | Condensation units | kondenzacione jedinice
Drying systems | Thermal oil heating system | grijanje termalnim uljem
Drying systems | Drying control systems | kontrolni sistemi
Drying systems | Temperature monitoring | senzori temperature
Drying systems | Pressure monitoring | senzori pritiska
Drying systems | Process automation PLC | automatizacija procesa
Drying systems | Vacuum storage tanks | rezervoari vakuuma
Drying systems | Oil storage tanks | rezervoari ulja
Drying systems | Oil cooling systems | hlađenje ulja
Drying systems | Process safety systems | sigurnosni sistemi

## TANK FABRICATION METAL PROCES
Category | CAPEX item | Description
Metal fabrication | CNC plasma cutting | rezanje čelika
Metal fabrication | CNC laser cutting | lasersko rezanje
Metal fabrication | Press brake | savijanje
Metal fabrication | Plate rolling machine | valjanje
Metal fabrication | Sheet metal bending machines | savijanje limova
Metal fabrication | CNC drilling machines | bušenje
Metal fabrication | Metal punching machines | perforacija
Metal fabrication | Edge milling machines | obrada ivica
Metal fabrication | Plate straightening machines | ravnanje ploča
Metal fabrication | Metal cutting saws | rezanje profila
Welding | Robotic welding systems | robot zavarivanje
Welding | Manual welding stations | ručno zavarivanje
Welding | Submerged arc welding system | SAW zavarivanje
Welding | MIG/MAG welding machines | industrijsko zavarivanje
Welding | Welding positioners | rotacioni držači
Welding | Welding manipulators | manipulacija
Welding | Welding power sources | izvori napajanja
Welding | Welding fume extraction systems | filtracija dima
Surface treatment | Shot blasting | čišćenje
Surface treatment | Sand blasting systems | pjeskarenje
Surface treatment | Surface grinding machines | brušenje
Surface treatment | Degreasing systems | odmašćivanje
Surface treatment | Painting booth | farbanje
Surface treatment | Paint drying ovens | sušenje boje
Surface treatment | Industrial coating systems | zaštitni premaz
Surface treatment | Paint mixing systems | priprema boje
Testing | Tank leak testing | test nepropusnosti
Testing | Pressure testing systems | test pritiska
Testing | Vacuum testing systems | vakuumski test
Testing | Weld inspection equipment | kontrola zavara
Testing | Ultrasonic testing equipment | ultrazvučna kontrola
Testing | Dye penetrant testing | penetrant test
Testing | Dimensional inspection systems | mjerenje dimenzija

## FINAL ASSEMBLY SYSTEMS
Category | CAPEX item | Description
Assembly | Transformer assembly stations | montaža
Assembly | Radiator installation stations | radijatori
Assembly | Oil filling systems | punjenje ulja
Assembly | Dry nitrogen systems | inertni gas
Assembly | Transformer lifting systems | dizanje transformatora
Assembly | Overhead bridge cranes | mostne dizalice
Assembly | Hydraulic lifting tables | hidraulične platforme
Assembly | Transformer tilting machines | rotacija transformatora
Assembly | Active part insertion systems | ubacivanje aktivnog dijela
Assembly | Bushing installation stations | instalacija provodnika
Assembly | Tap changer installation stations | instalacija regulacionih prekidača
Assembly | Cooling system installation stations | instalacija sistema hlađenja
Assembly | Radiator pressure testing systems | test radijatora
Assembly | Transformer tank positioning systems | pozicioniranje tankova
Assembly | Oil circulation systems | cirkulacija ulja
Assembly | Vacuum oil filling system | vakuumsko punjenje ulja
Assembly | Oil degassing system | degazacija ulja
Assembly | Oil filtration system | filtracija ulja
Assembly | Oil storage tanks | rezervoari ulja
Assembly | Nitrogen storage tanks | rezervoari azota
Assembly | Leak detection systems | detekcija curenja
Assembly | Torque control tools | kontrola momenta
Assembly | Hydraulic bolting systems | hidraulično zatezanje
Assembly | Assembly automation PLC | automatizacija montaže
Assembly | Transformer transport carts | transport transformatora
Assembly | Rail transfer systems | šinski transport
Assembly | Assembly safety systems | sigurnosni sistemi
Assembly | Lighting systems for assembly | industrijska rasvjeta

## TESTING HALL EQUIPMENT
Category | CAPEX item | Description
Electrical testing | High voltage test system | HV test
Electrical testing | Impulse generator | impulse test
Electrical testing | Partial discharge system | PD test
Electrical testing | Load loss measurement | gubici
Electrical testing | Control room systems | kontrola
Electrical testing | Induced voltage test system | inducirani napon
Electrical testing | Applied voltage test system | primijenjeni napon
Electrical testing | Ratio test system | omjer transformacije
Electrical testing | Winding resistance measurement | otpor namotaja
Electrical testing | Magnetic balance test system | magnetna ravnoteža
Electrical testing | No-load loss measurement | gubici praznog hoda
Electrical testing | Short circuit impedance test | impedansa
Electrical testing | Temperature rise test system | temperaturni test
Electrical testing | Tan delta test system | dielektrični gubici
Electrical testing | Capacitance measurement | kapacitivnost
Electrical testing | Power factor test system | faktor snage
Electrical testing | Transformer vector group test | vektorska grupa
Electrical testing | Frequency response analysis | FRA test
Electrical testing | Acoustic noise measurement | mjerenje buke
Electrical testing | On-load tap changer test system | test regulacije
Electrical testing | Transformer monitoring system | monitoring
Electrical testing | Test bay safety systems | sigurnost
Electrical testing | Grounding systems | uzemljenje
Electrical testing | Shielding systems | elektromagnetna zaštita
Electrical testing | High voltage bushings | visokonaponski priključci
Electrical testing | HV cables | visokonaponski kablovi
Electrical testing | Test transformers | pomoćni transformatori
Electrical testing | Data acquisition systems | prikupljanje podataka
Electrical testing | Test software | softver za testiranje
Electrical testing | SCADA integration | integracija
Electrical testing | Operator control consoles | operaterske konzole
Electrical testing | Test report automation | automatizacija izvještaja
Electrical testing | Environmental monitoring | monitoring okoline

## INTERNAL LOGISTICS & MATERIAL
Category | CAPEX item | Description
Cranes | Overhead cranes | mostne dizalice
Cranes | Jib cranes | kranovi
Cranes | Gantry cranes | portalne dizalice
Cranes | Crane hoists | vitla
Cranes | Crane control systems | upravljanje dizalicama
Cranes | Crane safety systems | sigurnosni sistemi
Transport | Forklifts | viljuškari
Transport | Heavy transport trolleys | transport
Transport | Electric pallet trucks | električni paletari
Transport | Industrial tractors | industrijski tegljači
Transport | Rail transport carts | šinski transport
Transport | Motorized transport platforms | transportne platforme
Transport | Hydraulic lifting platforms | hidraulične platforme
Transport | Coil transport systems | transport zavojnica
Transport | Core transport systems | transport jezgra
Automation | AGV vehicles | automatizovana logistika
Automation | AGV control systems | upravljanje AGV
Automation | Warehouse management system | WMS
Automation | Barcode tracking system | praćenje materijala
Automation | RFID tracking system | identifikacija
Automation | Automated storage systems | automatsko skladište
Automation | Conveyor systems | transportne trake
Automation | Material flow control software | kontrola protoka
Automation | Digital logistics monitoring | digitalni monitoring
Automation | Smart factory integration | integracija industrija 4.0

## UTILITIES & ENERGY INFRASTRUCTU
Category | CAPEX item | Description
Power | Substation | trafostanica
Power | Power distribution | razvod
Power | Medium voltage switchgear | srednjenaponski razvod
Power | Low voltage switchgear | niskonaponski razvod
Power | Backup generators | rezervni generatori
Power | UPS systems | besprekidno napajanje
Power | Power factor correction | kompenzacija jalove energije
Power | Cable trays | kablovske trase
Power | Industrial lighting systems | industrijska rasvjeta
Power | Emergency lighting | sigurnosna rasvjeta
Air | Compressors | kompresori
Air | Air dryers | sušači
Air | Air storage tanks | rezervoari zraka
Air | Air distribution piping | cjevovodi zraka
Air | Air filtration systems | filtracija zraka
Air | Nitrogen generators | generator azota
Air | Nitrogen storage tanks | rezervoari azota
Cooling | Cooling towers | hlađenje
Cooling | Industrial chillers | industrijski hladnjaci
Cooling | Cooling water pumps | pumpe
Cooling | Heat exchangers | izmjenjivači toplote
Cooling | Cooling water piping | cjevovodi hlađenja
Cooling | Process cooling systems | procesno hlađenje
Water | Water treatment | voda
Water | Industrial water storage tanks | rezervoari vode
Water | Water pumps | pumpe
Water | Demineralization systems | demineralizacija
Water | Fire protection water systems | voda za zaštitu od požara
Water | Fire sprinkler systems | sprinkler sistemi
Oil systems | Oil filtration | ulje
Oil systems | Oil storage tanks | rezervoari ulja
Oil systems | Oil pumps | pumpe za ulje
Oil systems | Oil heating systems | grijanje ulja
Oil systems | Oil cooling systems | hlađenje ulja
Oil systems | Oil degassing systems | degazacija ulja
Oil systems | Oil piping network | cjevovodi ulja
Oil systems | Oil spill containment | zaštita od curenja
Monitoring | Energy monitoring system | monitoring energije
Monitoring | Utility SCADA system | SCADA sistem
Monitoring | Process monitoring sensors | senzori

## RENEWABLES & ENERGY MANAGEMENT
Category | CAPEX item | Description
Renewables | Solar PV system | solarna elektrana
Renewables | Inverters | inverteri
Energy | Battery storage | baterije
Energy | Energy management system | EMS
Renewables | PV mounting structures | nosači panela
Renewables | Solar panels | solarni moduli
Renewables | DC combiner boxes | DC razvod
Renewables | AC distribution panels | AC razvod
Renewables | PV monitoring systems | monitoring sistema
Renewables | Weather monitoring station | meteorološka stanica
Renewables | PV cabling systems | solarni kablovi
Renewables | Grid connection equipment | priključak na mrežu
Energy | Battery inverter systems | inverter baterija
Energy | Battery management system | BMS
Energy | Battery cooling systems | hlađenje baterija
Energy | Battery safety systems | sigurnosni sistemi
Energy | Energy storage containers | kontejneri baterija
Energy | Energy storage transformers | transformatori sistema
Energy | Peak shaving control system | upravljanje vršnim opterećenjem
Energy | Demand response systems | optimizacija potrošnje
Energy | Load balancing systems | balansiranje opterećenja
Energy | Smart meters | pametna brojila
Energy | Industrial energy monitoring | monitoring energije
Energy | SCADA integration | integracija sa SCADA
Energy | Carbon monitoring system | praćenje emisija
Energy | ESG reporting software | ESG izvještavanje

## IT & DIGITAL INFRASTRUCTURE
Category | CAPEX item | Description
IT | Servers | serveri
IT | Network infrastructure | mreža
Software | ERP system | ERP
Software | MES system | proizvodnja
Software | Engineering software | CAD
IT | Data center racks | server ormari
IT | Backup storage systems | backup sistemi
IT | Network switches | mrežni switch
IT | Industrial routers | industrijski ruteri
IT | Fiber optic network | optička mreža
IT | Wireless access points | WiFi pristup
IT | Firewall security systems | sigurnosni firewall
IT | Cybersecurity monitoring | cyber sigurnost
IT | Industrial IoT gateways | IoT gateway
IT | Edge computing devices | edge serveri
Software | Product lifecycle management | PLM
Software | Digital twin systems | digital twin
Software | SCADA software | SCADA
Software | Data analytics platform | analiza podataka
Software | Production scheduling software | planiranje proizvodnje
Software | Warehouse management system | WMS
Software | Quality management software | QMS
Software | Maintenance management system | CMMS
Software | Energy monitoring software | monitoring energije
Software | Document management system | upravljanje dokumentima
Software | Engineering simulation software | simulacija
Software | Transformer design software | projektovanje transformatora
Software | CAD workstations | radne stanice
Software | Version control systems | kontrola verzija
IT | UPS systems for IT | napajanje IT
IT | Server cooling systems | hlađenje servera
IT | Data backup cloud integration | cloud backup
IT | Industrial tablets | industrijski tableti
IT | Barcode scanners | skeneri
IT | RFID systems | RFID

## QA LABORATORY & MATERIAL TESTIN
Category | CAPEX item | Description
Testing | Oil analysis lab | ulje
Testing | Insulation lab | izolacija
Testing | Material testing | materijali
Testing | CMM machine | mjerenja
Testing | Oil dielectric strength tester | test dielektrične čvrstoće ulja
Testing | Dissolved gas analysis system | DGA analiza ulja
Testing | Moisture analysis system | vlaga u ulju
Testing | Oil acidity testing | kiselost ulja
Testing | Oil particle counter | kontaminacija ulja
Testing | Oil viscosity tester | viskoznost ulja
Testing | Insulation resistance tester | otpor izolacije
Testing | Insulation aging ovens | starenje izolacije
Testing | Dielectric breakdown tester | proboj izolacije
Testing | Insulation thickness measurement | mjerenje debljine
Testing | Paper insulation testing system | test papira
Testing | Mechanical tensile testing machine | mehanički test
Testing | Compression testing machine | kompresija
Testing | Impact testing machine | udarni test
Testing | Hardness testing machine | tvrdoća
Testing | Metallographic microscope | analiza metala
Testing | Optical microscopes | mikroskop
Testing | Surface roughness tester | hrapavost
Testing | Dimensional measuring systems | mjerenje dimenzija
Testing | Laser measurement systems | lasersko mjerenje
Testing | CMM coordinate measuring machine | koordinatno mjerenje
Testing | Calibration equipment | kalibracija
Testing | Laboratory data systems | laboratorijski softver
Testing | Sample preparation equipment | priprema uzoraka
Testing | Laboratory ventilation systems | ventilacija
Testing | Laboratory safety systems | sigurnost

## TRANSPORT & FLEET
Category | CAPEX item | Description
Transport | Heavy trucks | kamioni
Transport | Vans | kombiji
Transport | Forklifts | viljuškari
Transport | Service vehicles | službena
Transport | Heavy-duty tractor units | tegljači
Transport | Low-bed trailers | niskopodni prikolice
Transport | Transformer transport trailers | specijalne prikolice
Transport | Container trucks | kontejnerski kamioni
Transport | Flatbed trucks | kamioni platforme
Transport | Box trucks | zatvoreni kamioni
Transport | Pickup trucks | pickup vozila
Transport | Electric forklifts | električni viljuškari
Transport | Diesel forklifts | dizel viljuškari
Transport | Reach trucks | visoki viljuškari
Transport | Pallet trucks | paletari
Transport | Automated forklifts | automatizovani viljuškari
Transport | Mobile cranes | mobilne dizalice
Transport | Transport dollies | transportna kolica
Transport | Workshop service vans | servisna vozila
Transport | Maintenance pickup trucks | vozila za održavanje
Transport | Electric utility vehicles | električna vozila
Transport | Battery charging stations | punjači
Transport | Fleet tracking systems | GPS praćenje
Transport | Vehicle maintenance equipment | oprema održavanja
Transport | Spare parts storage | rezervni dijelovi

## SECURITY & SAFETY SYSTEMS
Category | CAPEX item | Description
Security | CCTV system | kamere
Security | Access control | kontrola
Security | Alarm systems | alarm
Security | Fire detection | detekcija
Security | Perimeter surveillance cameras | perimetarske kamere
Security | PTZ cameras | rotirajuće kamere
Security | Video recording servers | snimanje
Security | Video management software | upravljanje video sistemom
Security | Motion detection systems | detekcija pokreta
Security | Thermal cameras | termalne kamere
Security | License plate recognition | prepoznavanje tablica
Security | Biometric access control | biometrija
Security | RFID access cards | kartice
Security | Turnstiles | kontrolni prolazi
Security | Security gates automation | automatizacija kapija
Security | Intrusion detection sensors | senzori upada
Security | Glass break sensors | detekcija lomljenja
Security | Emergency alarm systems | hitni alarm
Security | Fire alarm panels | centrala
Security | Smoke detectors | detektori dima
Security | Heat detectors | detektori temperature
Security | Flame detectors | detektori plamena
Security | Fire sprinkler system | sprinkler
Security | Fire suppression system | gašenje požara
Security | Gas fire suppression | gasno gašenje
Security | Fire hydrant network | hidrantska mreža
Security | Emergency evacuation system | evakuacija
Security | Public address system | razglas
Security | Security control room | kontrolna soba
Security | Integrated safety monitoring | centralni monitoring

## ENGINEERING & PERMITS
Category | CAPEX item | Description
Engineering | Feasibility studies | studije
Engineering | Detailed engineering | projekti
Engineering | Environmental permits | dozvole
Engineering | Construction permits | građevinska
Engineering | Concept design | idejni projekat
Engineering | Basic engineering design | osnovni projekat
Engineering | Front-end engineering design (FEED) | FEED projekat
Engineering | Process engineering | procesni dizajn
Engineering | Plant layout design | layout fabrike
Engineering | Architectural design | arhitektonski projekat
Engineering | Structural engineering | konstrukcija
Engineering | Electrical engineering | elektro projekat
Engineering | Mechanical engineering | mašinski projekat
Engineering | HVAC engineering | HVAC projekat
Engineering | Fire protection design | protivpožarni projekat
Engineering | Utility systems design | utilities projekat
Engineering | Environmental impact assessment | studija uticaja
Engineering | Environmental monitoring plans | monitoring
Engineering | Grid connection studies | priključenje
Engineering | Energy efficiency studies | energetska analiza
Engineering | HSE planning | sigurnost
Engineering | Risk assessment studies | analiza rizika
Engineering | Construction supervision | nadzor
Engineering | Project management consulting | upravljanje projektom
Engineering | Procurement engineering | nabavka
Engineering | Commissioning engineering | puštanje u rad
Engineering | Testing & certification | certifikacija
Engineering | Technical documentation | dokumentacija
Engineering | Digital project models (BIM) | BIM model
Engineering | Legal & regulatory consulting | pravni troškovi
Engineering | Land development permits | urbanističke dozvole
Engineering | Environmental compliance audits | ekološki audit

## PROJECT MANAGEMENT & IMPLEMENTA
Category | CAPEX item | Description
Project management | EPCM services | upravljanje
Project management | Owner engineer | nadzor
Project management | Commissioning | puštanje u rad
Project management | Project management office | projektni ured
Project management | Construction management | upravljanje gradnjom
Project management | Site supervision | nadzor gradilišta
Project management | Cost control systems | kontrola troškova
Project management | Schedule management | upravljanje rokovima
Project management | Risk management systems | upravljanje rizicima
Project management | Contract management | upravljanje ugovorima
Project management | Procurement management | upravljanje nabavkom
Project management | Logistics coordination | koordinacija logistike
Project management | Project reporting systems | izvještavanje
Project management | Quality assurance supervision | kontrola kvaliteta
Project management | HSE supervision | sigurnost
Project management | Construction inspections | inspekcije
Project management | Vendor inspections | kontrola dobavljača
Project management | Factory acceptance tests (FAT) | fabrička testiranja
Project management | Site acceptance tests (SAT) | testiranja na lokaciji
Project management | Commissioning engineering | inženjering puštanja
Project management | Commissioning supervision | nadzor puštanja
Project management | Startup assistance | podrška startu
Project management | Training of operators | obuka osoblja
Project management | Documentation management | dokumentacija
Project management | Final project audits | završni audit
Project management | Warranty management | upravljanje garancijom
Project management | Handover documentation | primopredaja

## CONTINGENCY & COST ESCALATION
Category | CAPEX item | Description
Contingency | Construction contingency | građevina
Contingency | Equipment contingency | oprema
Contingency | Price escalation | inflacija
Contingency | Civil works contingency | građevinski radovi
Contingency | Mechanical equipment contingency | mašinska oprema
Contingency | Electrical equipment contingency | elektro oprema
Contingency | Testing equipment contingency | test oprema
Contingency | Utilities systems contingency | utilities sistemi
Contingency | Engineering contingency | projektovanje
Contingency | Procurement contingency | nabavka
Contingency | Logistics contingency | transport
Contingency | Installation contingency | instalacija
Contingency | Commissioning contingency | puštanje u rad
Contingency | Exchange rate contingency | valutni rizik
Contingency | Supply chain risk allowance | rizik nabavke
Contingency | Raw material escalation | cijene materijala
Contingency | Steel price escalation | cijena čelika
Contingency | Copper price escalation | cijena bakra
Contingency | GOES steel escalation | elektro čelik
Contingency | Energy price escalation | cijena energije
Contingency | Labor cost escalation | rast plata
Contingency | Construction delay reserve | kašnjenje projekta
Contingency | Force majeure reserve | viša sila
Contingency | Regulatory change reserve | promjena regulative
Contingency | Inflation index reserve | indeks inflacije
Contingency | EPC contract contingency | EPC rezervni fond
Contingency | Risk mitigation reserve | ublažavanje rizika

## FINANCING COSTS
Category | CAPEX item | Description
Financing | Interest during construction | kamate
Financing | Bank fees | banke
Financing | Insurance | osiguranje
Financing | Loan arrangement fees | naknade za kredit
Financing | Commitment fees | naknada za neiskorišten kredit
Financing | Guarantee fees | garancije
Financing | Legal financing costs | pravni troškovi
Financing | Financial advisory fees | finansijski savjetnici
Financing | Hedging costs | valutni hedging
Financing | Interest rate hedging | zaštita kamate
Financing | Project finance advisory | savjetnici projekta
Financing | Lender technical advisor | tehnički savjetnik
Financing | Lender legal advisor | pravni savjetnik banke
Financing | Due diligence costs | dubinska analiza
Financing | Insurance during construction | osiguranje gradnje
Financing | Construction risk insurance | osiguranje rizika
Financing | Equipment insurance | osiguranje opreme
Financing | Delay in start-up insurance | osiguranje kašnjenja
Financing | Political risk insurance | politički rizik
Financing | Export credit insurance | izvozno osiguranje
Financing | Financial closing costs | troškovi zatvaranja
Financing | Loan documentation costs | dokumentacija kredita
Financing | Banking transaction fees | bankarske transakcije
Financing | Currency conversion costs | valutne konverzije

## START-UP INVENTORY & SPARE PART
Category | CAPEX item | Description
Start-up inventory | Initial spare parts | rezervni dijelovi
Start-up inventory | Maintenance tools | alati
Start-up inventory | Oil inventory | početno ulje
Start-up inventory | Insulation materials | početna izolacija
Start-up inventory | Copper conductors | bakarni provodnici
Start-up inventory | GOES electrical steel | elektro čelik
Start-up inventory | Transformer bushings | provodnici
Start-up inventory | Tap changers | regulacioni prekidači
Start-up inventory | Cooling radiators | radijatori
Start-up inventory | Gaskets and seals | brtve
Start-up inventory | Fasteners and bolts | vijci
Start-up inventory | Cable inventory | kablovi
Start-up inventory | Sensors and instrumentation | senzori
Start-up inventory | Electrical components | električne komponente
Start-up inventory | Bearings and mechanical parts | mehanički dijelovi
Start-up inventory | Hydraulic components | hidraulika
Start-up inventory | Vacuum system spare parts | vakuum oprema
Start-up inventory | Oil pumps spare parts | pumpe
Start-up inventory | Filters and filtration systems | filteri
Start-up inventory | Cooling system spare parts | hlađenje
Start-up inventory | Testing equipment spare parts | test oprema
Start-up inventory | Crane spare parts | rezervni dijelovi dizalica
Start-up inventory | Forklift spare parts | rezervni dijelovi viljuškara
Start-up inventory | Safety equipment inventory | zaštitna oprema
Start-up inventory | Workshop tools inventory | radionica

## TRAINING & HUMAN CAPITAL DEVELO
Category | CAPEX item | Description
Training | Operator training | obuka
Training | Technical training | tehnička obuka
Training | Safety training | HSE
Training | Training simulators | simulatori
Training | Production process training | obuka proizvodnje
Training | Transformer design training | dizajn transformatora
Training | Winding process training | namotavanje
Training | Core assembly training | slaganje jezgra
Training | Drying process training | VPD / VPI proces
Training | Oil handling training | rad sa uljem
Training | Testing laboratory training | testiranje
Training | HV testing training | visoki napon
Training | Maintenance training | održavanje
Training | Electrical maintenance training | elektro održavanje
Training | Mechanical maintenance training | mašinsko održavanje
Training | Automation systems training | PLC / SCADA
Training | ERP system training | ERP
Training | MES system training | MES
Training | Quality control training | QA
Training | ISO certification training | ISO standardi
Training | Environmental compliance training | ekologija
Training | Emergency response training | hitne situacije
Training | Fire safety training | zaštita od požara
Training | Equipment supplier training | obuka dobavljača
Training | Commissioning support training | puštanje u rad

## WORKING CAPITAL (START-UP INVEN
Category | CAPEX item | Description
Working capital | Raw materials inventory | bakar, GOES
Working capital | WIP inventory | proizvodnja
Working capital | Finished goods buffer | gotovi proizvodi
Working capital | Copper conductors inventory | bakarni provodnici
Working capital | GOES electrical steel inventory | elektro čelik
Working capital | Insulation materials inventory | izolacija
Working capital | Transformer oil inventory | izolaciono ulje
Working capital | Radiator components inventory | radijatori
Working capital | Tap changer components | regulacioni prekidači
Working capital | Bushing inventory | provodnici
Working capital | Structural steel inventory | čelične komponente
Working capital | Fasteners and small components | vijci i sitni dijelovi
Working capital | Packaging materials | ambalaža
Working capital | Spare electrical components | električne komponente
Working capital | Auxiliary materials | pomoćni materijali
Working capital | WIP coils inventory | zavojnice u proizvodnji
Working capital | WIP core assemblies | jezgra u proizvodnji
Working capital | WIP active parts | aktivni dio transformatora
Working capital | Finished transformer inventory | gotovi transformatori
Working capital | Export buffer inventory | buffer za izvoz
Working capital | Logistics buffer stock | logistički buffer
Working capital | Safety stock inventory | sigurnosne zalihe
Working capital | Maintenance consumables | potrošni materijal
Working capital | Initial operating supplies | početne zalihe
Working capital | Production ramp-up inventory | zalihe za ramp-up